## Slide 1: Fire Prevention System
Group Number: G26
Group Members: 200566R, 200571D, 200582L

## Slide 2: Sensors
IR Sensor
Temperature Sensor(MAX6675 Thermocouple Sensor)
Smoke Gas Sensor(MQ2 Smoke Gas Sensor)

## Slide 3: IR Sensor
Flame Height from Source(cm) | Voltage Reading (V)
2 | 0
2.5 | 0.41
3 | 1.05
3.5 | 1.32
4 | 2.67
5 | 4.02
5.5 | 4.3
6.5 | 4.31
7 | 4.33
8 | 4.34
9 | 4.36
Photo Diode

## Slide 4
Chart: Flame Height Vs Voltage Difference of IR Sensor
| 2 | 2.5 | 3 | 3.5 | 4 | 5 | 5.5
Linear part | 0 | 0.41 | 1.05 | 1.32 | 2.67 | 4.02 | 4.3
Saturation Part | 4.3 | 4.31 | 4.33 | 4.34 | 4.36
saturation region | -1 | 6
Voltage Limit | 4.55 | 4.55

## Slide 5
Rearrange the equation for the linear region,
to find the flame height according to the voltage difference
  The saturation region starts after the flame height become more than According to the voltage limit, we get the calculated flame height limit as follows,
When we calibrate the sensor, we took 2cm flame height as the 0V voltage difference point.
Wheatstone Bridge method

## Slide 6: IR Sensor Calibration

## Slide 7: Temperature Sensor (MAX6675 Thermocouple Sensor)
Reference:- Data Sheet of MAX6675

## Slide 8
12-bit sequence
First 10-bitDecimal part of the Temperature (exponent)
Last 2-bit The Fractional part of the Temperature (mantissa)
According to the 12-bit sequence with 10-bit exponent and 2-bit mantissa,
The minimum possible Temperature
The maximum possible Temperature

## Slide 9: LabVIEW program for the Temperature sensor
SPI pins in Arduino uno: -
SS (Slave Select)/ CS (Chip Select) – 10
MOSI (Master Out Slave In) – 11
MISO (Master In Slave Out) – 12
SCK (Serial Clock) – 13

## Slide 10: Smoke Gas Sensor (MQ2)
There are two types of outputs we can get.
We used analog output.

## Slide 11: Actuators
Buzzer
Exhaust Fan
Solar Water Motor

## Slide 12
LabVIEW program for Actuators

## Slide 13: Peripheral Devices
LCD Display
ESP32 with GSM900A SMS Send

## Slide 14: LabVIEW program for peripheral devices

## Slide 15: LabVIEW Interface